Notified Body No. 1432

| Phone.: 048/4719 122 - general director of SLM 0421/48/4719 124 - director of Products certification body fax: 00421/48/4719 145 e-mail: slmcv@slm.sk Bank: VÚB, a.s. IBAN: SK6902000000000049937312 Reg. no.: 37954521 VAT no.: SK2021921880 Tax No.: 2021921880 | Registr. No. |  |
| --- | --- | --- |
|  | Ref. No. |  |
|  | Date |  |
|  | Application reviewed and accepted on/signature |

### Filled by NB

### APPLICATION FOR PRODUCT CERTIFICATION

(TYPE EXAMINATION)

pursuant to Annex 2, MODULE B to Regulation of the Government of the Slovak Republic No 126/2016 Coll on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll., which implements, in the Slovakia, the Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended (hereinafter as the „ NAWID“) or pursuant to  section 5.1 of OIML-CS PD-05

- Scope of the application

| Certification area | According to | New certificate | Modification |
| --- | --- | --- | --- |
|  |  |  | Revision | Addition |
| EU-type examination certificate Certification scheme: MODULE B | Annex 2 MODULE B of the Directive 2014/31/EU (NAWID) (Annex no. 2 module B of Government ordinance of SR no. 126/2016 Coll. as amended by Government ordinance of SR no. 330/2019 Coll.) |  |  |  |
| Certification scheme: 1b Voluntary certification | Test certificate (EC) | EN 45501: 2015 (3.10.2) and WELMEC Guide 2.1 / 2.2 / 2.4 |  |  |  |
|  | OIML Certificate1) | Related recommendation OIML R76 |  |  |  |

1) SLM is issuing authority SK1 for issuing OIML certificates according to scheme A in relation to OIML R 76.

- Applicant:   manufacturer or  his authorised representative 2)

| Company name |  | Registration no. |  |
| --- | --- | --- | --- |
|  |  | Register reference |  |
|  |  | VAT no. |  |
| Address/Reg. seat |  | Phone |  |
|  |  | e-mail |  |
|  |  | www |  |
| Statutory representative |  | Phone |  |
|  |  | e-mail |  |
| Contact person |  | Phone |  |
|  |  | e-mail |  |
| Bank connection (account number) |  | Name of bank institute |  |
|  |  | SWIFT |  |

2) 	If the applicant is manufacturer´s authorised representative, he shall submit the notified body written mandate from the manufacturer to act on his behalf in relation to specified tasks in the process of the conformity assessment of the instrument pursuant to Article 7 of NAWID and pursuant to point 1.10 of Annex II, MODULE B of NAWID. The written mandate shall conform to the provisions listed in the article VIII of this application.

- Manufacturer (if the applicant is the manufacturer´s authorised representative)

| Company name |  | Registration no. |  |
| --- | --- | --- | --- |
|  |  | Register reference |  |
|  |  | VAT no. |  |
| Address/Reg. seat |  | Phone |  |
|  |  | e-mail |  |
|  |  | www |  |
| Statutory representative |  | Phone |  |
|  |  | e-mail |  |
| Contact person |  | Phone |  |
|  |  | e-mail |  |
| Bank connection (account number) |  | Name of bank institute |  |
|  |  | SWIFT |  |

- Product identification

| Category of product according to EN 45501 or OIML R76 | EU-type examination certificate | Test certificate |
| --- | --- | --- |
|  | NAWI | Load cell | Indicator | Analogue data processing device | Digital data processing device | Terminal | Weighing module | Other |
|  | ( | ( | ( | ( | ( | ( | ( | ( |
| Type designation of the product |  | Accuracy classes |  |
| Modular approach requested | ( yes | ( no | Maximum capacities (range - lowest and highest value of Max in units of mass) |  |
| Notes |  |
| Harmonised standards or normative documents applied |  |
| In the case of the application for Revision or Addition to the EU-type examination certificate or EC-type examination certificate | Number of EU-type examination certificate or EC-type examination certificate including its additions and revisions |  |
|  | Description of modifications to the approved type3) |  |

3) The detailed description of the modifications to the approved type shall be the part of the submitted documentation in terms of article VII of this application.

- Application to carry out the tests in accordance with EU Directive, EN or OIML

| Directive EN, OIML | Title of document | Tests performed by | Requested |
| --- | --- | --- | --- |
| Regulation no. 126/2016 Coll. 2014/31/EU (NAWID) | Regulation of the Government of the Slovak Republic No 126/2016 Coll. on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll.. Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended. | SLM | ( yes ( no |
| (testing of NAWI) STN EN 45501: 2015 (Annexes A, B and G) | Testing procedures for NAWI, and additional tests for electronics instruments aspects of non-automatic weighing instruments (if applicable), and additional examinations and tests for software-controlled digital devices and instruments (if applicable) | SLM | ( yes ( no |
| (testing of modules) STN EN 45501: 2015 (3.10.2, 3.10.4) and applicable parts of Annexes C, D, E, F, G | STN EN 45501: 2015 (3.10.2, 3.10.4) and applicable Annexes C, D, E, F, G | SLM | ( yes ( no |
| OIML R76 | International recommendation OIML R76 | SLM | ( yes ( no |

- Preceding approvals and certificates (including national approvals, OIML certificates of conformity, test reports, etc.)

| Type of document | Number | Issued by | Date of issue |
| --- | --- | --- | --- |

- Technical documentation

(Notified Body may require further documents during the certification process)

| Type of documentation | Attached to application |
| --- | --- |
| conceptual design of the instrument commercial prospect describing the instrument user manual customized note explaining the measurement concept in the case of the modification of an already approved instrument, the description can be limited and focused on the modification itself | ( |
| manufacturing drawings and plans of components, sub-assemblies, circuits, etc. | ( |
| descriptions and explanations necessary for the understanding of those drawings and schemes and the operation of the instrument; | ( |
| technical description of the instrument including defined metrological and technical characteristics in line with NAWID and harmonised European standards (or international recommendations, where relevant) | ( |
| drawings of seals and markings and specifications where seals and markings are to be applied | ( |
| list of measuring instrument components interfaces (types, intended use, immunity to external influences, instructions) | ( |
| photos of the measuring instrument (general views, disassembling particular parts etc.) | ( |
| description of the electronic devices with drawings, diagrams, flow diagrams of the logic, including the list of electronic components. | ( |
| software documentation and protocols, WELMEC 2.3 or WELMEC 7.2 (if relevant) | ( |
| analysis and assessment of the risk(s). | ( |
| conditions for compatibility with interfaces and sub-assemblies, where relevant. | ( |
| operation manual (user manual) instructions for installation, maintenance, repairs, permissible adjustments (e.g. technical manual) | ( |
| list of the standards and/or normative documents applied in full or in part and the ways/manners the fulfilment of their particular requirements (e.g. references in the technical documentation) and, where those harmonised standards have not been applied, descriptions of the solutions adopted to meet the essential requirements of NAWID, including a list of other relevant technical specifications applied. In the event of partly applied harmonised standards, the technical documentation shall specify the parts which have been applied; | ( |
| results of design calculations made, examinations carried out, etc.; test reports | ( |
| EU-type examination certificates, EC type examination certificates, EC design examination certificates or other certificates (test/evaluation/OIML certificate) in respect of products containing parts identical to those in the design | ( |

- Requirements for certification and further obligations of the applicant – the manufacturer or where relevant, his authorised representative.

Requirements for certification and further obligations

The Applicant takes into account that the certificate shall be issued in case of positive decision on certification only if the requirements pursuant to the relevant legal rules as well as the requirements defined by the notified body no. 1432 (hereinafter referred to as „NB“) are met.

The Applicant shall enable NB to carry out the appropriate examinations and tests of the product test sample pursuant to the relevant legal rules and shall therefore submit to NB appropriate test samples at his own costs and respecting the instructions of the NB.

The Applicant shall duly provide NB with all the appropriate and necessary cooperation (access to all the necessary fields and records, etc.) pursuant to the relevant legal rules and the instructions of NB.

In the case NB asks the Applicant to submit the necessary documentation pursuant to the relevant legal rules, the Applicant shall be responsible for its correctness and completeness; the Applicant, if necessary, shall ensure at his own costs the official translation of the documentation into the Slovak language or other language accepted by NB. The submitted information shall include the information as of its validity and effectuality.

The Applicant shall abide by the relevant legal rules and respect the instructions of NB.

The Applicant shall use the issued EU-type examination certificate only within the extent of and the manners specified in the relevant legal rules and respecting the instructions of NB and in a manner not effecting (even potentially) the good reputation or the goodwill of NB.

The Applicant shall reproduce or use the certificate for any publication purposes including the advertisement purposes only in its integrity and respecting the instructions of NB, otherwise only upon a previous written consent of NB.

The Applicant shall use the mark of conformity only within the extent of and the manners specified in the relevant legal rules and respecting the instructions of NB and shall make claims regarding certification consistent with the scope of certification.

The Applicant shall ensure that no document issued by NB in the product certification process (test protocols, evaluation reports, final protocols, decisions on certification and certificates) could be misused or used in other manner than specified in the relevant legal rules.

The Applicant shall inform NB on all modifications to the certified product where such modifications may affect the conformity with the requirements specified in the relevant legal rules or the conditions of the issued certificate.

The Applicant shall stop using the certificate and all the related advertisement materials immediately after the suspension of the validity or the effectiveness of the certificate or after its withdrawal.

The Applicant shall record all the complaints related to the certified product and makes these records available to NB when requested. The Applicant shall takes appropriate action with respect to such complaints and any deficiencies found in products that affect compliance with the requirements for certification and documents the actions taken.

The Applicant shall enable the participation of observers during the operational audit of the manufacture and its premises and respecting the instructions of NB, if needed.

If the Applicant is not the manufacturer of the measuring instrument, the Applicant undertakes to provide NB written mandate from the manufacturer to act on his behalf in relation to specified tasks in proceedings of conformity assessment for the measuring instrument, which shall contain at least: identification of the manufacturer and authorised representative, the date and signature of the manufacturer representative identification of the type of measuring instrument scope of the authorization: specification of tasks pursuant to the to Article 7 and Annex II, MODULE B of NAWID

This application is valid as an order for performances related with examinations and with issue of the certificate.

All the lines in the application form must be filled in. The non-filled lines shall be marked by “XXX” or “-“.

If the application is incomplete, or if it does not meet the requirements of NAWID, prior to the acceptance of the application by NB the application is returned to the Applicant to complete.

Commercial and legal relations between NB and the Applicant will be resolved on the basis of the agreement.

The Applicant undertakes to comply with SLM general commercial terms available on www.slm.sk.

- Information concerning procedures of evaluation and certification

Information concerning procedures of evaluation and certification

SLM as a Notified Body No. 1432 (NB) provide conformity assessment according to Regulation of the Government of the Slovak Republic No 126/2016 Coll. on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll., which implements, in the Slovakia, the Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended. Subject is conformity assessment according to above mentioned Directive, harmonized standards and normative documents. NB shall carry out the product certification impartially and in accordance with the relevant legal rules and his operation processes. Certification services within scope of OIML-CS are provided in line with requirements laid down in relevant recommendations, procedural documents and other documents issued within OIML-CS. Confidentiality is assured in terms of EN ISO / IEC 17065: 2013 and Article 21, clause 5 and Article 23, clause 4 of NAWID.

Declaration of the Applicant (only in case of EU-type examination and/or certification within scope of OIML-CS) By signing and acknowledgement of this Application, I hereby declare that I have not applied my Application for EU-type examination or OIML certification to any other notified body or OIML Issuing Authority. I agree to comply with the requirements for certification and to supply any information necessary for the assessment of the measuring instrument under certification. The metrological characteristic and data of the instrument cannot be changed through the measuring instrument interface(s).

________________                       ______________________              __________________________

Date 			 	      Stamp of applicant	     	       Name and signature of applicant