Notified Body No. 1432 / Issuing Authority SK1

| Tel.: 00421/48/4719 122 - director of SLM 00421/48/4719 124 - director of certifications and testing department fax: 00421/48/4719 145 e-mail: slmcv@slm.sk Bank: VÚB, a.s. IBAN: SK6902000000000049937312 Reg. no.: 37954521 VAT no.: SK2021921880 Tax no.: 2021921880 | Registr. No. |  |
| --- | --- | --- |
|  | Ref. No. |  |
|  | Date |  |
|  | Application reviewed and accepted on/signature |  |

### Filled by official of Products certification body

### APPLICATION FOR PRODUCT CERTIFICATION

(TYPE EXAMINATION)

pursuant to Annex 2, MODULE B to Regulation of the Government of the Slovak Republic No 126/2016 Coll on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll., which implements, in the Slovakia, the Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended (hereinafter referred to as the „NAWID“) or pursuant to  section 5.1 of OIML-CS PD-05.

- Scope of the application

| Certification area |  | According to | New certificate | Modification |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Revision | Addition |
| EU-type examination certificate Certification scheme: MODULE B |  | Annex 2 MODULE B of the Directive 2014/31/EU (NAWID) (Annex no. 2 module B of Government ordinance of SR no. 126/2016 Coll. as amended by Government ordinance of SR no. 330/2019 Coll.) |  |  |  |
| Certification scheme: 1b Voluntary certification | Test certificate (EC) | EN 45501: 2015 (3.10.2) and WELMEC Guide 2.1 / 2.2 / 2.4 |  |  |  |
|  | OIML Certificate1) | Related recommendation OIML R76 |  |  |  |

1) SLM is issuing authority SK1 for issuing OIML certificates according to scheme A in relation to OIML R 76.

- Applicant:   manufacturer or  his authorised representative2)

| Company name |  | Registration no. |  |
| --- | --- | --- | --- |
|  |  | Register reference |  |
|  |  | VAT no. |  |
| Address/Reg. seat |  | Phone |  |
|  |  | e-mail |  |
|  |  | www |  |
| Statutory representative |  | Phone |  |
|  |  | e-mail |  |
| Contact person |  | Phone |  |
|  |  | e-mail |  |
| Bank connection (account number) |  | Name of bank institute |  |
|  |  | SWIFT |  |

2) 	If the applicant is manufacturer´s authorised representative, he shall submit to the SLM written mandate from the manufacturer to act on his behalf in relation to specified tasks in the process of the conformity assessment of the instrument pursuant to Article 7 of NAWID and pursuant to point 1.10 of Annex II, MODULE B of NAWID and/or requirements of OIML-CS. The written mandate shall conform to the provisions listed in the article VIII of this application.

- Manufacturer (if the applicant is the manufacturer´s authorised representative)

| Company name |  | Registration no. |  |
| --- | --- | --- | --- |
|  |  | Register reference |  |
|  |  | VAT no. |  |
| Address/Reg. seat |  | Phone |  |
|  |  | e-mail |  |
|  |  | www |  |
| Statutory representative |  | Phone |  |
|  |  | e-mail |  |
| Contact person |  | Phone |  |
|  |  | e-mail |  |
| Bank connection (account number) |  | Name of bank institute |  |
|  |  | SWIFT |  |

- Product identification

| Category of product according to EN 45501 or OIML R76 | EU-type examination certificate / OIML Certificate of conformity | Evaluation certificate / Parts certificate / OIML certificate of conformity |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | NAWI | Load cell |  | Indicator | Analogue data processing device | Digital data processing device | Terminal | Weighing module | Other |
| Type designation of the product |  |  |  |  | Accuracy classes |  |  |  |  |
| Modular approach requested | yes | no |  |  | Maximum capacities (range - lowest and highest value of Max in units of mass) |  |  |  |  |
| Notes |  |  |  |  |  |  |  |  |  |
| Applied harmonised standards, normative documents, international recommendations or other technical specifications |  |  |  |  |  |  |  |  |  |
| In the case of the application for Revision or Addition to the EU-type examination certificate, EC-type examination certificate or OIML certificate of conformity | Number of certificate |  |  |  |  |  |  |  |  |
|  | Description of modifications to the approved type3) |  |  |  |  |  |  |  |  |

3) The detailed description of the modifications to the approved type shall be the part of the submitted documentation in terms of article VII of this application.

- Application to carry out the tests in accordance with EU Directive, EN or OIML

| Directive EN, OIML | Title of document | Tests performed by | Requested |
| --- | --- | --- | --- |
| Regulation no. 126/2016 Coll. 2014/31/EU (NAWID) | Regulation of the Government of the Slovak Republic No 126/2016 Coll. on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll. Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended. | SLM | yes no |
| (testing of NAWI) STN EN 45501: 2015 (Annexes A, B and G) | Testing procedures for NAWI, and additional tests for electronics instruments aspects of non-automatic weighing instruments (if applicable), and additional examinations and tests for software-controlled digital devices and instruments (if applicable) | SLM | yes no |
| (testing of modules) STN EN 45501: 2015 (3.10.2, 3.10.4) and applicable parts of Annexes C, D, E, F, G | STN EN 45501: 2015 (3.10.2, 3.10.4) and applicable Annexes C, D, E, F, G | SLM | yes no |
| OIML R76 | International recommendation OIML R76 | SLM | yes no |

- Preceding approvals and certificates (including national approvals, OIML certificates of conformity, test reports, etc.)

| Type of document | Number | Issued by | Date of issue |
| --- | --- | --- | --- |

- Technical documentation

(SLM may require further documents during the certification process)

| Type of documentation | Attached to application |
| --- | --- |
| - conceptual design of the instrument - commercial prospect describing the instrument - user manual - customized note explaining the measurement concept - in the case of the modification of an already approved instrument, the description can be limited and focused on the modification itself |  |
| - manufacturing drawings and plans of components, sub-assemblies, circuits, etc. |  |
| - descriptions and explanations necessary for the understanding of those drawings and schemes and the operation of the instrument; |  |
| - technical description of the instrument including defined metrological and technical characteristics in line with NAWID and harmonised European standards (or international recommendations, where relevant) |  |
| - drawings of seals and markings and specifications where seals and markings are to be applied |  |
| - list of measuring instrument components - interfaces (types, intended use, immunity to external influences, instructions) |  |
| - photos of the measuring instrument (general views, disassembling particular parts etc.) |  |
| - description of the electronic devices with drawings, diagrams, flow diagrams of the logic, including the list of electronic components. |  |
| - software documentation and protocols, (if relevant - see also WELMEC Guides 2.3, 7.2., 7.3, 7.4, 7.5 and 7.6). |  |
| - analysis and assessment of the risk(s). |  |
| - conditions for compatibility with interfaces and sub-assemblies, where relevant. |  |
| - operation manual (user manual) - instructions for installation, maintenance, repairs, permissible adjustments (e.g. technical manual) |  |
| - list of the standards and/or normative documents applied in full or in part and the ways/manners the fulfilment of their particular requirements (e.g. references in the technical documentation) and, - where those harmonised standards have not been applied, descriptions of the solutions adopted to meet the essential requirements of NAWID, including a list of other relevant technical specifications applied. In the event of partly applied harmonised standards, the technical documentation shall specify the parts which have been applied; |  |
| - results of design calculations made, examinations carried out, etc.; - test reports |  |
| - EU-type examination certificates, EC type examination certificates, EC design examination certificates or other certificates (test/evaluation/parts/OIML certificate) in respect of products containing parts identical to those in the design |  |

- Requirements for certification and further obligations of the applicant – the manufacturer or where relevant, his authorised representative.

Requirements for certification and further obligations

- The Applicant takes into account that the certificate shall be issued in case of positive decision on certification only if the requirements pursuant to the relevant legal rules as well as the requirements defined by Product certification body of SLM (the notified body no. 1432 and Issuing Authority SK1, hereinafter referred to as „SLM“) are met.

- The Applicant shall enable SLM to carry out the appropriate examinations and tests of the product test sample pursuant to the relevant legal rules and shall therefore submit to SLM appropriate test samples at his own costs and respecting the instructions of the SLM.

- The Applicant shall duly provide SLM with all the appropriate and necessary cooperation (access to all the necessary fields and records, etc.) pursuant to the relevant legal rules and the instructions of SLM.

- In the case SLM asks the Applicant to submit the necessary documentation pursuant to the relevant legal rules, the Applicant shall be responsible for its correctness and completeness; the Applicant, if necessary, shall ensure at his own costs the official translation of the documentation into the Slovak language or other language accepted by SLM. The submitted information shall include the information as of its validity and effectuality.

- The Applicant shall abide by the relevant legal rules and respect the instructions of SLM.

- The Applicant shall use the issued certificates only within the extent of and the manners specified in the relevant legal rules and respecting the instructions of SLM and in a manner not effecting (even potentially) the good reputation or the goodwill of SLM.

- The Applicant shall reproduce or use the certificate for any publication purposes including the advertisement purposes only in its integrity and respecting the instructions of SLM, otherwise only upon a previous written consent of SLM.

- The Applicant shall use the mark of conformity only within the extent of and the manners specified in the relevant legal rules and respecting the instructions of SLM and shall make claims regarding certification consistent with the scope of certification.

- The Applicant shall ensure that no document issued by SLM in the product certification process (test protocols, evaluation reports, final protocols, decisions on certification and certificates) could be misused or used in other manner than specified in the relevant legal rules.

- The Applicant shall inform SLM on all modifications to the certified product where such modifications may affect the conformity with the requirements specified in the relevant legal rules or the conditions of the issued certificate.

- The Applicant shall stop using the certificate and all the related advertisement materials immediately after the suspension of the validity or the effectiveness of the certificate or after its withdrawal.

- The Applicant shall record all the complaints related to the certified product and makes these records available to SLM when requested. The Applicant shall take appropriate action with respect to such complaints and any deficiencies found in products that affect compliance with the requirements for certification and shall document the actions taken.

- The Applicant shall enable the participation of observers during the operational audit of the manufacture and its premises and respect the instructions of SLM, if needed.

- If the Applicant is not the manufacturer of the measuring instrument, the Applicant undertakes to provide SLM written mandate from the manufacturer to act on his behalf in relation to specified tasks in proceedings of conformity assessment for the measuring instrument, which shall contain at least: - identification of the manufacturer and authorised representative, the date and signature of the manufacturer representative - identification of the type of measuring instrument - scope of the authorization: specification of tasks (in case of type examination according to NAWID specification of tasks shall be pursuant to the Article 7 and Annex II, MODULE B of NAWID)

- This application is valid as an order for performances related with examinations and with issue of the certificate.

- All the lines in the application form must be filled in. The non-filled lines shall be marked by “XXX” or “-“.

- If the application is incomplete or if it does not meet the requirements of NAWID or OIML-CS, prior to the acceptance of the application by SLM the application is returned to the Applicant to be completed.

- Commercial and legal relations between SLM and the Applicant will be resolved on the basis of the agreement.

- The Applicant undertakes to comply with SLM general terms and conditions available on www.slm.sk.

- Information concerning procedures of evaluation and certification

Information concerning procedures of evaluation and certification

- SLM as a Notified Body No. 1432 (NB) provide conformity assessment according to Regulation of the Government of the Slovak Republic No 126/2016 Coll. on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll., which implements, in the Slovakia, the Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended. Subject is conformity assessment according to above mentioned Directive, harmonized standards and normative documents. NB shall carry out the product certification impartially and in accordance with the relevant legal rules and his operation processes. - Certification services provided by SLM as Issuing Authority SK1 within scope of OIML-CS are provided in line with requirements laid down in relevant recommendations, procedural documents and other documents issued within OIML-CS. - Confidentiality is assured in terms of EN ISO / IEC 17065: 2012, Article 21, clause 5 of NAWID, Article 23, clauses 4 and 10 of NAWID.

Declaration of the Applicant (only in case of EU-type examination and/or certification within scope of OIML-CS) By signing and acknowledgement of this Application, I hereby declare that - I have not applied my Application for EU-type examination or OIML certification to any other notified body or OIML Issuing Authority. - I agree to comply with the requirements for certification and to supply any information necessary for the assessment of the measuring instrument under certification. - The metrological characteristic and data of the instrument cannot be changed through the measuring instrument interface(s).

________________                       ______________________              __________________________

Date 			 	      Stamp of applicant	     	       Name and signature of applicant