Notified Body No. 1432

| Tel.: 00421/48/4719 122 - director of SLM 00421/48/4719 124 - director of certifications and testing department fax: 00421/48/4719 145 e-mail: slmcv@slm.sk Bank: VÚB, a.s. IBAN: SK6902000000000049937312 Reg. no.: 37954521 VAT no.: SK2021921880 Tax no.: 2021921880 | Registr. No. |  |
| --- | --- | --- |
|  | Ref. No. |  |
|  | Date |  |
|  | Application reviewed and accepted on/signature |  |

### Filled by official of Products Certification Body

### APPLICATION FOR PRODUCT CERTIFICATION

(UNIT VERIFICATION)

pursuant to Annex 2, MODULE G to Regulation of the Government of the Slovak Republic No 126/2016 Coll. on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll., which implements, in the Slovakia, the Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended (hereinafter referred to as the „NAWID“).

- Scope of the application

| Certification area | According to |
| --- | --- |
| Certificate of conformity Certification scheme: MODULE G | Annex 2 MODULE G of the Directive 2014/31/EU (NAWID) (Annex no. 2 of Government ordinance of SR No. 126/2016 Coll. as amended by Government ordinance of SR No. 330/2019 Coll.) |

- Applicant:   manufacturer or  his authorised representative1)

| Company name |  | Registration no. |  |
| --- | --- | --- | --- |
|  |  | Register reference |  |
|  |  | VAT no. |  |
| Address/Reg. seat |  | Phone |  |
|  |  | e-mail |  |
|  |  | www |  |
| Statutory representative |  | Phone |  |
|  |  | e-mail |  |
| Contact person |  | Phone |  |
|  |  | e-mail |  |
| Bank connection (account number) |  | Name of bank institute |  |
|  |  | SWIFT |  |

1) 	If the applicant is manufacturer´s authorised representative, he shall submit the notified body written mandate from the manufacturer to act on his behalf in relation to specified tasks in the process of the conformity assessment of the instrument pursuant to Article 7 of NAWID and pursuant to point 6.6 of Annex II, MODULE G of NAWID. The written mandate shall conform to the provisions listed in the article VIII of this application.

- Product identification

| Kind of measuring instrument | Non-automatic weighing instrument | Metrological parameters and construction of NAWI |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Classification according to weighing ranges | Single-interval NAWI | Min1 |  |  | Max1 |  | e1 = |  | d1 = |  |
|  | Multi-interval NAWI | Min2 |  |  | Max2 |  | e2 = |  | d2 = |  |
|  | Multiple-range NAWI | Min3 |  |  | Max3 |  | e3 = |  | d3 = |  |
| Type/model of measuring instrument |  | Lim |  |  | T = + |  | T = - |  | dt = |  |
| Serial number of NAWI |  | special temperature limits |  |  |  |  |  |  |  |  |
| Place of examinations (exact address): |  | ratio between load receptor and load |  |  |  |  |  |  |  |  |
|  |  | NAWI is intended for direct sales to public and/or price labelling |  |  |  |  | yes no |  |  |  |
| Remarks: |  | identification mark on each separate but associated units (serial numbers of load cells, indicator etc.) |  |  |  |  |  |  |  |  |
| Applied harmonised standards, normative documents, international recommendations or other technical specifications |  |  |  |  |  |  |  |  |  |  |

- Preceding approvals and certificates (including national approvals, OIML certificates of conformity, test reports, etc.)

| Type of document | Number | Issued by | Date of issue |
| --- | --- | --- | --- |

- Technical documentation
(Notified Body may require further documents during the certification process)

| Type of documentation | Attached to application |
| --- | --- |
| - conceptual design of the instrument - commercial prospect describing the instrument - user manual - customized note explaining the measurement concept |  |
| - manufacturing drawings and plans of components, sub-assemblies, circuits, etc. |  |
| - descriptions and explanations necessary for the understanding of those drawings and schemes and the operation of the instrument; |  |
| - technical description of the instrument including defined metrological and technical characteristics in line with NAWID and harmonised European standards (or international recommendations, where relevant) |  |
| - drawings of seals and markings and specifications where seals and markings are to be applied |  |
| - list of measuring instrument components - interfaces (types, intended use, immunity to external influences, instructions) |  |
| - photos of the measuring instrument (general views, disassembling particular parts etc.) |  |
| - description of the electronic devices with drawings, diagrams, flow diagrams of the logic, including the list of electronic components. |  |
| - software documentation and protocols, WELMEC 2.3 or WELMEC 7.2 (if relevant - see also WELMEC Guides 2.3, 7.2., 7.3, 7.4, 7.5 and 7.6). |  |
| - analysis and assessment of the risk(s) |  |
| - conditions for compatibility with interfaces and sub-assemblies, where relevant. |  |
| - operation manual (user manual) - instructions for installation, maintenance, repairs, permissible adjustments (e.g. technical manual) |  |
| - list of the standards and/or normative documents applied in full or in part and the ways/manners the fulfilment of their particular requirements (e.g. references in the technical documentation) and, - where those harmonised standards have not been applied, descriptions of the solutions adopted to meet the essential requirements of NAWID, including a list of other relevant technical specifications applied. In the event of partly applied harmonised standards, the technical documentation shall specify the parts which have been applied; |  |
| - results of design calculations made, examinations carried out, etc.; - test reports |  |
| - EU-type examination certificates, EC type examination certificates, EC design examination certificates or other certificates (test/evaluation/parts/OIML certificate) in respect of products containing parts identical to those in the design |  |

- Requirements for certification and further obligations of the applicant

Requirements for certification and further obligations

- The Applicant takes into account that the certificate shall be issued in case of positive decision on certification only if the requirements pursuant to the relevant legal rules as well as the requirements defined by the notified body no. 1432 (hereinafter as the „NB“) are met.

- The Applicant shall enable NB to carry out the appropriate examinations and tests of the product (or its individual parts) pursuant to the relevant legal rules and shall therefore submit product or its parts to NB at his own costs and respecting the instructions of the NB.

- The Applicant shall duly provide NB with all the appropriate and necessary cooperation (access to all the necessary fields and records, etc.) pursuant to the relevant legal rules and the instructions of NB.

- In the case NB asks the Applicant to submit the necessary documentation pursuant to the relevant legal rules, the Applicant shall be responsible for its correctness and completeness; the Applicant, if necessary, shall ensure at his own costs the official translation of the documentation into the Slovak language or other language accepted by NB. The submitted information shall include the information as of its validity and effectuality.

- The Applicant shall abide by the relevant legal rules and respect the instructions of NB.

- The Applicant shall use the issued certificate of conformity only within the extent of and the manners specified in the relevant legal rules and respecting the instructions of NB and in a manner not effecting (even potentially) the good reputation or the goodwill of NB.

- The Applicant shall reproduce or use the certificate for any publication purposes including the advertisement purposes only in its integrity and respecting the instructions of NB, otherwise only upon a previous written consent of NB.

- The Applicant shall use the mark of conformity only within the extent of and the manners specified in the relevant legal rules and respecting the instructions of NB and shall make claims regarding certification consistent with the scope of certification.

- The Applicant shall ensure that no document issued by NB in the product certification process (test protocols, evaluation reports, final protocols, decisions on certification and certificates) could be misused or used in other manner than specified in the relevant legal rules.

- The Applicant shall inform NB on all modifications to the certified product where such modifications may affect the conformity with the requirements specified in the relevant legal rules or the conditions of the issued certificate.

- The Applicant shall stop using the certificate and all the related advertisement materials immediately after the suspension of the validity or the effectiveness of the certificate or after its withdrawal.

- The Applicant shall record all the complaints related to the certified product and makes these records available to NB when requested. The Applicant shall take appropriate action with respect to such complaints and any deficiencies found in products that affect compliance with the requirements for certification and documents the actions taken.

- The Applicant shall enable the participation of observers during the operational audit of the manufacture and its premises and respecting the instructions of NB, if needed.

- This application is valid as an order for performances related with examinations and with issue of the certificate.

- All the lines in the application form must be filled in. The non-filled lines shall be marked by “XXX” or “-“.

- If the application is incomplete, or if it does not meet the requirements of NAWID, prior to the acceptance of the application by NB the application is returned to the Applicant to complete.

- Commercial and legal relations between NB and the Applicant will be resolved on the basis of the agreement.

- The Applicant undertakes to comply with SLM general terms and conditions available on www.slm.sk.

- Applicant shall affix number of notified body (1432) to measuring instruments according to instructions of NB and shall ensure that all interested parties are duly informed about of this marking (not valid before completion of conformity procedures) in order to avoid incorrect or misleading interpretation of marking.

- In case the conformity of measuring instrument to requirements has not been demonstrated (i.e. non-conformity with requirements has been found), the Applicant shall ensure removal of notified body identification number from measuring instrument without delay.

- Information concerning procedures of evaluation and certification

Information concerning procedures of evaluation and certification

- SLM as a Notified Body No. 1432 (NB) provides conformity assessment according to Regulation of the Government of the Slovak Republic No 126/2016 Coll. on making available of non-automatic weighing instruments on the market, in the wording of the Regulation of the Government of the Slovak Republic No 330/2019 Coll., which implements, in the Slovakia, the Directive 2014/31/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to the making available on the market of non-automatic weighing instruments as later amended. Subject is conformity assessment according to above mentioned Directive, harmonized standards and normative documents. NB shall carry out the product certification impartially and in accordance with the relevant legal rules and its operation processes. - Confidentiality is assured in terms of EN ISO / IEC 17065: 2013 and Article 21, clause 5 and Article 23, clause 4 of NAWID.

Declaration of the Applicant By signing and acknowledgement of this Application, I hereby declare that - I have not applied my Application for unit verification to any other notified body - I agree to comply with the requirements for certification and to supply any information necessary for the assessment of the measuring instrument under certification - The metrological characteristic and data of the instrument cannot be changed through the measuring instrument interface(s).

________________                       ______________________              __________________________

Date 			 	      Stamp of applicant	     	       Name and signature of applicant